## Slide 1: Project Presentation
Lu Zhang

## Slide 2
Functional Neural Circuits
Circuit mechanisms underlying cortical communications
Development of functional subnetworks in cortex
Structural organization of cortical subnetworks
Development of cortical disinhibitory circuits
Higher-order thalamic nucleus in sensory perception
Cortico-cortical communication in NDDs
Ana Inacio, Lu Zhang, Mei Han
Ana Inacio, Lu Zhang, Mei Han
Shovan Naskar, Ana Inacio, Mei Han
Shovan Naskar, Changquan Ye, Siani Barbosa, Mei Han
Changquan Ye, Jia Qi
In vivo two-photon calcium imaging, neuropharmacology, single-cell based monosynaptic input tracing in whole brain,
holographic imaging and photo-stimulation
Ana Inacio
Shovan Naskar
Changquan Ye
Mei Han
Lu Zhang
Siani Barbosa
Longitudinal two-photon calcium imaging during development, optogenetics, multiplex ISH,
3D reconstruction of body movement, holographic imaging and photo-stimulation
Whole-cell patch-clamp recordings in brain slices, optogenetic & chemogenetic stimulation,
in vivo two-photon calcium imaging, scRNA sequencing transcriptome
Behav. task for associative learning, whole-cell patch-clamp recordings in brain slices, in vivo electrophysiology
optogenetic & chemogenetic stimulation, in vivo two-photon calcium imaging
Texture-discrimination behavior task, optogenetic & chemogenetic stimulation, photometry,
optogenetic & chemogenetic stimulation, in vivo electrophysiology

## Slide 3: Holographic Imaging and Photo-Stimulation
Source: https://doi.org/10.7554/eLife.32671

## Slide 4: Semi-Automatic Workflow
2p Imaging ~20 min
Bruker_PrairieLink
Data for future offline analysis
Quick analysis
2p Imaging + Single cell stimulation ~20 min
Bruker_PVLinkExcuteFolder
Data for future offline analysis
Identify ROI of each cell, and their behavioral dependency
To ensure each cell has comparable response
2P imaging + Holographic photo-stimulation
Bruker_PVLinkExcuteFolder
Quick analysis
Identify the SLM parameters for each single cell
Data for future offline analysis

## Slide 5: Semi-Automatic Workflow
2p Imaging ~20 min
Bruker_PrairieLink
Data for future offline analysis
Quick analysis
2p Imaging + Single cell stimulation ~30 min
Bruker_PVLinkExcuteFolder
Data for future offline analysis
Identify ROI of each cell, and their behavioral dependency
To ensure each cell has comparable response
2P imaging + Holographic photo-stimulation
Bruker_PVLinkExcuteFolder
Quick analysis
Identify the SLM parameters for each single cell
Data for future offline analysis
2p online Imaging
2p Imaging + Single cell stimulation
Manual identify ROI of each cell
2P imaging + Holographic photo-stimulation
Data for future offline analysis
Manual operation process

## Slide 6: Single cell stimulation on plane 1
Manual operation process

## Slide 7: Single cell stimulation on plane 3

## Slide 8: Group cell stimulation on plane 2

## Slide 9: Network effect?
Single cell stimulation on plane 3
Group cell stimulation on plane 3

## Slide 10: Network effect?
Group cell stimulation on 3 planes
Group cell stimulation on plane 2

## Slide 11: Summary from Manual Testing
2p online Imaging
2p Imaging + Single cell stimulation
Manual identify ROI of each cell
2P imaging + Holographic photo-stimulation
Data for future offline analysis
Manual operation process
Individual cells were activated by single target opto-stimulation
Holographic stimulation of neural assemblies fails activating the targets probably due to network effect (indirection inhibition)

## Slide 12: Holographic Imaging and Photo-Stimulation
2p Imaging ~20 min
Bruker_PrairieLink
Data for future offline analysis
Quick analysis
2p Imaging + Single cell stimulation ~30 min
Bruker_PVLinkExcuteFolder
Data for future offline analysis
Identify ROI of each cell, and their behavioral dependency
To ensure each cell has comparable response
2P imaging + Holographic photo-stimulation
Bruker_PVLinkExcuteFolder
Quick analysis
Identify the SLM parameters for each single cell
Data for future offline analysis
2p online Imaging
2p Imaging + Single cell stimulation
Manual identify ROI of each cell
2P imaging + Holographic photo-stimulation
Data for future offline analysis
Manual operation process

## Slide 13: Holographic Imaging and Photo-Stimulation
2p Imaging ~20 min
Bruker_PrairieLink
Data for future offline analysis
Quick analysis
2p Imaging + Single cell stimulation ~30 min
Bruker_PVLinkExcuteFolder
Data for future offline analysis
Identify ROI of each cell, and their behavioral dependency
To ensure each cell has comparable response
2P imaging + Holographic photo-stimulation
Bruker_PVLinkExcuteFolder
Quick analysis
Identify the SLM parameters for each single cell
Data for future offline analysis

## Slide 14: Holographic Imaging and Photo-Stimulation
2p Imaging ~20 min
Bruker_PrairieLink
Data for future offline analysis
Quick analysis
2p Imaging + Single cell stimulation ~30 min
Bruker_PVLinkExcuteFolder
Data for future offline analysis
Identify ROI of each cell, and their behavioral dependency
To ensure each cell has comparable response
2P imaging + Holographic photo-stimulation
Bruker_PVLinkExcuteFolder
Quick analysis
Identify the SLM parameters for each single cell
Data for future offline analysis

## Slide 15: Current Issue and Cause
2p Imaging ~20 min
Bruker_PrairieLink
Data for offline analysis
Quick analysis
2p Imaging + Single cell stimulation ~20 min
Bruker_PVLinkExcuteFolder
Data for offline analysis
To ensure each cell has comparable response
2P imaging + Holographic photo-stimulation
Bruker_PVLinkExcuteFolder
Quick analysis
Identify the SLM parameters for each single cell
Data for future offline analysis

## Slide 16: Current Issue and Cause
Data flow
Continuous imaging sequence
Frame 1
Frame 3
Frame 2
2p Imaging ~20 min
Bruker_PrairieLink
Data for offline analysis
Quick analysis
2p Imaging + Single cell stimulation ~20 min
Bruker_PVLinkExcuteFolder
Data for offline analysis
To ensure each cell has comparable response
2P imaging + Holographic photo-stimulation
Bruker_PVLinkExcuteFolder
Quick analysis
Identify the SLM parameters for each single cell
Data for future offline analysis
Control

## Slide 17: Holographic Imaging and Photo-Stimulation
Data flow
Continuous imaging sequence
Frame 1
Frame 3
Frame 2
2p Imaging ~20 min
Bruker_PrairieLink
Data for analysis
Quick analysis
2p Imaging + Single cell stimulation ~20 min
Bruker_PVLinkExcuteFolder
Data for analysis
To ensure each cell has comparable response
2P imaging + Holographic photo-stimulation
Bruker_PVLinkExcuteFolder
Quick analysis
Identify the SLM parameters for each single cell
Data for future offline analysis
Data flow
Pause for SLM in imaging sequence
Frame 1
Frame 3
Frame 2
Pixels shift after SLM

## Slide 18: Holographic Imaging and Photo-Stimulation
Data flow
Pause for SLM in imaging sequence
Data flow
Continuous imaging sequence
Frame 1
Frame 3
Frame 2
2p Imaging ~20 min
Bruker_PrairieLink
Data for analysis
Quick analysis
2p Imaging + Single cell stimulation ~20 min
Bruker_PVLinkExcuteFolder
Data for analysis
To ensure each cell has comparable response
2P imaging + Holographic photo-stimulation
Bruker_PVLinkExcuteFolder
Quick analysis
Identify the SLM parameters for each single cell
Data for future offline analysis
Frame X
Frame X+1
Worked but not perfect
Plan B
Precisely identify the last frame X before SLM
Frame X+2

## Slide 19: Future Work and Ideas 1
2p Imaging ~20 min
Bruker_PrairieLink
Data for analysis
Quick analysis
2p Imaging + Single cell stimulation ~20 min
Bruker_PVLinkExcuteFolder
Data for analysis
To ensure each cell has comparable response
2P imaging + Holographic photo-stimulation
Bruker_PVLinkExcuteFolder
Quick analysis
Identify the SLM parameters for each single cell
Data for future offline analysis
Make future single target as 1 target + X non-targets
Identify ROI of each cell, and their behavioral dependency
Neural activities with speed (could be online).
Whisker detection could be processed with video-recording PC and quick transfer results to imaging PC
Currently manual correction after Suite2p process is used, which should be removed to save time

## Slide 20: Future Work and Ideas 2
2p Imaging ~20 min
Bruker_PrairieLink
Data for analysis
Quick analysis
2p Imaging + Single cell stimulation ~20 min
Bruker_PVLinkExcuteFolder
Data for analysis
To ensure each cell has comparable response
2P imaging + Holographic photo-stimulation
Bruker_PVLinkExcuteFolder
Quick analysis
Identify the SLM parameters for each single cell
Data for future offline analysis
WM on cells VS non-WM cells VS …
None or “excitation” networks
None or “inhibition” networks

## Slide 21: Ideas 3
2p Imaging ~20 min
Bruker_PrairieLink
Data for analysis
Quick analysis
2p Imaging + Single cell stimulation ~20 min
Bruker_PVLinkExcuteFolder
Data for analysis
Closed-loop holographic opto-stimulation
Bruker_PVLinkExcuteFolder
Identify ROI of each cell, and their behavioral dependency
Detection of neural activity pattern (single cell or cell assemblies)
Stimulate other cells

## Slide 22: Thank you for support and trouble shooting. Thoughts?