## Slide 1: SLM-Project Presentation
Lu Zhang
8/12/2024
Lab meeting
Mei Han: Surgery, animal maintenance/histology
Soohyun Lee: Supervision, Optogenetics strategy
Ana Inacio: Imaging trouble shooting

## Slide 2: Holographic Imaging and Photo-Stimulation
Source: https://doi.org/10.7554/eLife.32671
Spatial Light Modulation (SLM)

## Slide 3: Two Parts of SLM
Spatial Light Modulation (SLM)
Engineering
Biology
Using 2PPlus from Bruker, establish a workflow to stimulate cells assemblies with specific characteristics (functional, or network properties)
Find the most suitable opto-genetics strategy (cell type interested, animal model, virus, et al)
12/2023-04/2024
04/2024-08/2024

## Slide 4: Update in Engineering
2p Imaging ~20 min
Bruker_PrairieLink
Data for future analysis
Quick analysis
2p Imaging + Single cell stimulation ~20 min
Bruker_PVLinkExcuteFolder
Data for future analysis
To ensure each cell (10 cells/group) has comparable response
2P imaging + Holographic photo-stimulation
Bruker_PVLinkExcuteFolder
Online analysis
Identify the SLM parameters for each single cell
Data for future offline analysis
Imaging with spontaneous behaviors, and under sensory stimuli. Identify ROI of each cell, and their behavioral dependency
10-15 mins, Suite2p processing + simple manual correction
3 groups of cells (10 cells/group; sensory group, locomotion , control; >= 10 trials/group) has comparable response
Not tested yet, 20-40 minutes
Notes: Indicate imaging condition during the first 20min imaging (spontaneous imaging only? Or sensory stimuli applied?)
Are ”data for analysis” in the green bubbles used for “quick analysis’ and ‘online analysis’? Or is it for something else?
@ 2P imaging + Holographic photo-stimulation; describe more detailed information. for example, 10 cells /group, what is your estimation for the number of trials (stimulation)?

## Slide 5: Update in Engineering
2p Imaging ~20 min
Bruker_PrairieLink
Data for analysis
Quick analysis
2p Imaging + Single cell stimulation ~20 min
Bruker_PVLinkExcuteFolder
Data for analysis
To ensure each cell (10 cells/group) has comparable response
2P imaging + Holographic photo-stimulation
Bruker_PVLinkExcuteFolder
Online analysis
Identify the SLM parameters for each single cell
Data for future offline analysis
1st recording file
Online phase off-set checking to ensure recording quality
Current trial
Phase-difference (x, y by pixels)

## Slide 6: Update in Engineering
2p Imaging ~20 min
Bruker_PrairieLink
Data for analysis
Quick analysis
2p Imaging + Single cell stimulation ~20 min
Bruker_PVLinkExcuteFolder
Data for analysis
To ensure each cell (10 cells/group) has comparable response
2P imaging + Holographic photo-stimulation
Bruker_PVLinkExcuteFolder
Online analysis
Identify the SLM parameters for each single cell
Data for future offline analysis
Single target: 1 target + 9 non-targets
Non-targets: Randomly chosen from regions with blood vessels across 3 recording planes, 30 µm away from all detected cells, 50 µm away between each non-targets.

## Slide 7: Two Parts of SLM
Spatial Light Modulation (SLM)
Engineering
Biology
Using 2PPlus from Bruker, establish a workflow to stimulate cell assemblies with specific characteristics (function, or network properties)
Find the most suitable opto-genetics strategy (cell type interested, animal model, virus, et al)

## Slide 8: Main Aims in Biology Part of SLM
Cell Targets: Excitatory Cells in Primary Somatosensory Cortex (L2/3)
Aims :
High signal quality (Calcium signals)
Large population of cells (Calcium signals)
Considerable population of SLM target cells (Opto-genetics)
Low and controllable ‘cross-talk’ issue.
Affordability (Animal, surgery, delay-time)
SLM

## Slide 9: Evaluation of Three Animal Strategies
 | vGluT1-Ai203 (n = 2) | GCamp6s-CamKII (n = 3) | Emx1.Cre-Ai96 (n = 1)
Aims :
Signal quality
Imaging population
SLM populations
‘Cross-talk’
Affordability
?
?
?
?

## Slide 10: Surgery Procedure: GCamp6s-CamKII
#Imaging
CanSensor: GCamp6s
CamKII: True
0 1 2 3 4 5
Time (weeks)
Virus: AAV5-TRE-ChroME2f-ST-P2A-NLS-mRuby3
Surgery (Cranial window, virus injection)
Calcium imaging, SLM responsive cells found
~ 3 weeks waiting time

## Slide 11: SLM: GCamp6s-CamkII
300-600 cells with 3 planes (697.2 x 697.2 µm) recording
High signal/noise ratio

## Slide 12: SLM: Cross-talk
“Laser used for 2P imaging of neural activity (e.g., via GCaMP sensors) might incidentally depolarize the neurons of interest through activation of the opsin molecules.”
https://doi.org/10.1016/j.neuron.2022.01.008

## Slide 13: Observe and Quantify Cross-talk under SLM
Neural activities
Time
2P Imaging start
SLM
2P Imaging start
SLM
Low High
Laser power
Sham stimuli trial, where SLM power = 0
Time
Moderate cross talk
SLM
2P Imaging start
Time
Strong cross talk
Almost no cross talk
Several Hypothesis:

## Slide 14: Cross-talk Examples: GCamp6s-CamkII
Sham stimuli trial, where SLM power = 0
Stimuli trial, where SLM power > 0
Neural activities
SLM
SLM
Unit 1
2P Imaging start
2P Imaging start
Unit 3
SLM
2P Imaging start
SLM
Unit 2
Unit 4
SLM
2P Imaging start

## Slide 15: SLM: GCamp6s-CamkII, Cross-talk
FOV: 512 x 512 pixels, 697.2 x 697.2 µm, 3 Planes with inter plane > 40 µm
Sampling rate: 6.9 Hz
2P laser scanning power < 30 mW is safe
Cross-talk of ChroME2f
Notes: Can we add a plot, df/F as a function of 2P laser scan power change?

## Slide 16: Limited SLM Targets: GCamp6s-CamkII
Summary from multiple recording days from 3 mice:
Less than < 8 SLM targets could found across multiple planes within the 697.2 x 697.2 µm, within depth between 80 µm and 240 µm.
Example 2P FOV, Red Channels (mRuby3)

## Slide 17: Limited SLM Targets: GCamp6s-CamkII
Example Brain Slice, Red (mRuby3)
Ref by google
Almost no cells at layer II&III
2p imaging range

## Slide 18: Evaluation of Three Animal Strategies
 | vGluT1-Ai203 (n = 2) | GCamp6s-CamkII (n = 3) | Emx1.Cre-Ai96 (n = 1)
Aims :
Signal quality
Imaging population
SLM populations
‘Cross-talk’
Affordability
?
?
?
?
×
×
?

## Slide 19: Evaluation of Three Animal Strategies
 | vGluT1-Ai203 (n = 2) | GCamp6s-CamkII (n = 3) | Emx1.Cre-Ai96 (n = 1)
Aims :
Signal quality
Imaging population
SLM populations
‘Cross-talk’
Affordability
?
?
?
?
×
×
?

## Slide 20: Surgery Procedure: vGluT1-Ai203
#Imaging
CanSensor: GCamp7s
vGluT1: True
0 1 2 3 4 5
Time (weeks)
Surgery (Cranial window)
Calcium imaging, SLM responsive cells found
~ 1 week waiting time (surgery recovery)
Ai203
(TITL-sChroME-Kv2.1-GC7s-WPRE-ICL-nls-mRuby3-IRES2-tTA2-WPRE))

## Slide 21: Cross-talk: vGluT1-Ai203
Not comprehensively tested with the cross-talk trial design yet.
2P Imaging start
There are cross-cell variability. Seems safe for scanning power of 35mW.
Unit 2
2P Imaging start
2P Imaging start
Unit 1
Unit 3
Notes: Lu, I thought we did extensive testing of cross talk with Ai203. if you didn’t do imaging to specifically address cross talk issues, I believe you did use Ai203 to test SLM. Can you check your previous Ai203 imaging to plot F changes due at the beginning of 2p imaging?

## Slide 22: SLM: vGluT1-Ai203
60-120 cells with 3 planes (697.2 x 697.2 µm) recording
Moderate signal/noise ratio
For cells with well detected ROI and signal/noise ratio, SLM in general works.
Notes: Like GCamp6s-CamkII condition, can you add quantification on mRuby3+ cells, mRuby3+/GCaMP7s+ cells at a given a FOV (1.6x zoom condition)?

## Slide 23: Evaluation of Three Animal Strategies
 | vGluT1-Ai203 (n = 2) | GCamp6s-CamkII (n = 3) | Emx1.Cre-Ai96 (n = 1)
Aims :
Signal quality
Imaging population
SLM populations
‘Cross-talk’
Affordability
?
?
?
?
?
√
×

## Slide 24: Evaluation of Three Animal Strategies
 | vGluT1-Ai203 (n = 2) | GCamp6s-CamkII (n = 3) | Emx1.Cre-Ai96 (n = 1)
Aims :
Signal quality
Imaging population
SLM populations
‘Cross-talk’
Affordability
?
?
?
?
?

## Slide 25: Surgery Procedure: Emx1.Cre-Ai96
#Imaging
CanSensor: GCamp6s
Emx1: True
0 1 2 3 4 5
Time (weeks)
Virus: AAV5-CAG-DIO-ChroME2f-ST-P2A-H2B-mRuby3
Surgery (Cranial window, virus injection)
Calcium imaging, SLM responsive cells found
> 5 weeks waiting time

## Slide 26: SLM: Emx1.Cre-Ai96
200-500 cells with 3 planes (697.2 x 697.2 µm) recording
Moderate signal/noise ratio
Around 2-4 SLM targets could found across multiple planes within the 697.2 x 697.2 µm, within depth between 80 µm and 240 µm, after 5 weeks of surgery.
No responsive SLM targets is found before week 5.
N = 1

## Slide 27: SLM: Emx1.Cre-Ai96
2p imaging range
There are considerable cell population in layer II/III
Notes: Mei did histology to test [AAV5-CAG-DIO-ChroME2f-ST-P2A-H2B-mRuby3] on Emx1cre (without Ai96) last spring to test whether the virus worked. That brain was processed at the same time with the slide 17 brain (CamKII mouse brain). Please ask Mei the image. If she did not take the image, ask her the location of slide. I will show you how to take the image with out microscope. If there is no image, we will take it and add before your lab meeting on Monday morning. We can meet at 9am.

## Slide 28: SLM: Emx1.Cre-Ai96
Region 2 (600 frames)
Region 3 (600 frames)
Region 4 (600 frames)
Virus infected regions with low calcium signals observed
Notes: Mei did histology to test [AAV5-CAG-DIO-ChroME2f-ST-P2A-H2B-mRuby3] on Emx1cre (without Ai96) last spring to test whether the virus worked. That brain was processed at the same time with the slide 17 brain (CamKII mouse brain). Please ask Mei the image. If she did not take the image, ask her the location of slide. I will show you how to take the image with out microscope. If there is no image, we will take it and add before your lab meeting on Monday morning. We can meet at 9am.

## Slide 29: Evaluation of Three Animal Strategies
 | vGluT1-Ai203 (n = 2) | GCamp6s-CamkII (n = 3) | Emx1.Cre-Ai96 (n = 1)
Aims :
Signal quality
Imaging population
SLM populations
‘Cross-talk’
Affordability
?
?
?
?
√
×
Using Ai203 at this moment, while testing more Emx1Cre-Ai96 mice
Move forward with vGluT1-Ai203 , while testing more Emx1Cre-Ai96 mice
×
?
Notes: Make sure you add a thank you slide – Mei for surgery, mouse maintenance and histology.

## Slide 30
2p holographic optogenetics experiments in Fig. 3-4 were conducted with AAV8-hSynGCaMP6m-p2A-ChRmine-Kv2.1-WPRE injected in PV-IRES-Cre;RCL-tdTomato mice (n=2) and AAV9-2YF-hSyn-DIO-GCaMP6m-P2A-ChRmine-Kv2.1-WPRE in Emx1-Cre mice (n=2).
https://doi.org/10.1101/2023.06.05.543698
For 2p holographic optogenetics experiments, we injected the GCaMP6m-p2A-ChRmine-Kv2.1 virus during the window implant surgery (500nL per 2 depths and 2 sites). Injection speed was 100-250 nL/min, and after injection in each site, pipette was held in place for 5 minutes. Injection sites were centered at 2.7mm lateral, 0.2mm anterior relative to lambda, and injection depths were 120µm and 250µm.